## Sheet1
Tag Number | P&ID Sheet Number | Size and Rating | Connection Type | Type | Body Material | Trim | Port | Location | Client Pipe Class | Manufacturer | Model | Pipe Schedule | Notes
V100 | Sheet 1 | [6 empty] | 20-12"-P-5030-100-3CS11P
V101 | Sheet 1 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-12"-P-5030-100-3CS11P | 3CS11
CV102 | Sheet 1 | [6 empty] | 20-12"-P-5030-100-3CS11P
V103 | Sheet 1 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-16"-P-5030-101-3CS11P | 3CS11
V104 | Sheet 1 | 1/2" | FNPT | 2-Valve Manifold - PG |  |  |  | 20-16"-P-5030-101-3CS11P | N/A
V105 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-16"-P-5030-101-3CS11P | 3CS11
V106 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-16"-P-5030-101-3CS11P | 3CS11
V107 | Sheet 2 | 1/2" | FNPT | 3-Valve Manifold - PDT |  |  |  | 20-16"-P-5030-101-3CS11P | N/A
V108 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-16"-P-5031-102-3CS11P-HP | 3CS11
V109 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-16"-P-5031-102-3CS11P-HP | 3CS11
V110 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-16"-P-5031-102-3CS11P-HP | 3CS11
V111 | Sheet 2 | 1/2" | FNPT | 2-Valve Manifold - PT |  |  |  | 20-16"-P-5031-102-3CS11P-HP | N/A
V112 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-16"-P-5031-102-3CS11P-HP | 3CS11
V113 | Sheet 2 | 1/2" | FNPT | 2-Valve Manifold - PT |  |  |  | 20-16"-P-5031-102-3CS11P-HP | N/A
V114 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-16"-P-5031-102-3CS11P-HP | 3CS11
V115 | Sheet 2 | 1/2" | FNPT | 2-Valve Manifold - PT |  |  |  | 20-16"-P-5031-102-3CS11P-HP | N/A
V116 | Sheet 12 | [6 empty] | 20-C-5021 Compressor Second Stage
V117 | Sheet 12 | [6 empty] | Instrumentation / Tubing
V118 | Sheet 12 | [6 empty] | 20-C-5021 Compressor First Stage
V119 | Sheet 12 | [6 empty] | Instrumentation / Tubing
V120 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-8"-P-5031-104-3CS11P-HP | 3CS11
V121 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-8"-P-5031-104-3CS11P-HP | 3CS11
V122 | Sheet 2 | 1/2" | FNPT | 3-Valve Manifold - PDT |  |  |  | 20-8"-P-5031-104-3CS11P-HP | N/A
V123 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-8"-P-5031-104-3CS11P-HP | 3CS11
V124 | Sheet 2 | 1/2" | FNPT | 3-Valve Manifold - PDT |  |  |  | 20-8"-P-5031-104-3CS11P-HP | N/A
V125 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-8"-P-5031-104-3CS11P-HP | 3CS11
V126 | Sheet 2 | 1/2" | FNPT | 3-Valve Manifold - PDT |  |  |  | 20-8"-P-5031-104-3CS11P-HP | N/A
V127 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-8"-P-5031-104-3CS11P-HP | 3CS11
V128 | Sheet 2 | 1/2" | FNPT | 2-Valve Manifold - PT |  |  |  | 20-8"-P-5031-104-3CS11P-HP | N/A
V129 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-8"-P-5031-104-3CS11P-HP | 3CS11
V130 | Sheet 2 | 1/2" | FNPT | 2-Valve Manifold - PT |  |  |  | 20-8"-P-5031-104-3CS11P-HP | N/A
V131 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-8"-P-5031-104-3CS11P-HP | 3CS11
V132 | Sheet 2 | 1/2" | FNPT | 2-Valve Manifold - PT |  |  |  | 20-8"-P-5031-104-3CS11P-HP | N/A
V133 | Sheet 3 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-V-5124 Bulk Oil Seperator | 3CS11
V134 | Sheet 3 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-V-5124 Bulk Oil Seperator | 3CS11
V135 | Sheet 3 | 1/2" | FNPT | 3-Valve Manifold - PDT |  |  |  | 20-V-5124 Bulk Oil Seperator | N/A
V136 | Sheet 4 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-8"-P-5033-106-3CS11P-HP | 3CS11
V137 | Sheet 4 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-8"-P-5033-107-3CS11P-HP | 3CS11
V138 | Sheet 4 | 1/2" | FNPT | 3-Valve Manifold - PDT |  |  |  | Instrumentation / Tubing | N/A
V139 | Sheet 4 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-8"-P-5033-107-3CS11P-HP | 3CS11
V140 | Sheet 4 | 1/2" | FNPT | 2-Valve Manifold - PG |  |  |  | Instrumentation / Tubing | N/A
V141 | Sheet 4 | 8"-300# | RF Flange | Gate |  |  |  | 20-8"-P-5033-107-3CS11P-HP | 3CS11
V142 | Sheet 4 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-8"-P-5033-107-3CS11P-HP | 3CS11
V143 | Sheet 4 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-8"-P-5033-107-3CS11P-HP | 3CS11
V144 | Sheet 4 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-8"-P-5033-107-3CS11P-HP | 3CS11
V145 | Sheet 4 | 8"-300# | RF Flange | Gate |  |  |  | 20-8"-P-5033-107-3CS11P-HP | 3CS11
V146 | Sheet 4 | [6 empty] | 20-8"-P-5033-107-3CS11P-HP
CV147 | Sheet 4 | 8"-300# | RF Flange | Swing Check |  |  |  | 20-8"-P-5033-107-3CS11P-HP | 3CS11
V148 | Sheet 4 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-8"-P-5033-107-3CS11P-HP | 3CS11
V149 | Sheet 6 | 8"-300# | RF Flange | Gate |  |  |  | 20-8"-P-5035-108-3CS11P-HP | 3CS11
V150 | Sheet 6 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-8"-P-5035-108-3CS11P-HP | 3CS11
V151 | Sheet 6 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-8"-P-5035-108-3CS11P-HP | 3CS11
V152 | Sheet 6 | 1/2" | FNPT | 2-Valve Manifold - PT |  |  |  | Instrumentation / Tubing | N/A
V153 | Sheet 7 | [6 empty] | 20-2"-P-5036-112-3CS11P-H-TE
V154 | Sheet 7 | [6 empty] | 20-2"-P-5036-112-3CS11P-H-TE
V155 | Sheet 7 | [6 empty] | 20-2"-P-5036-112-3CS11P-H-TE
V156 | Sheet 7 | [6 empty] | 20-2"-P-5036-112-3CS11P-H-TE
V157 | Sheet 7 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-2"-P-5036-112-3CS11P-H-TE | 3CS11
V158 | Sheet 7 | 1/2" | FNPT | 2-Valve Manifold - PT |  |  |  | 20-2"-P-5036-112-3CS11P-H-TE | N/A
V159 | Sheet 7 | [6 empty] | 20-2"-P-5036-112-3CS11P-H-TE
V160 | Sheet 7 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-2"-P-5036-112-3CS11P-H-TE | 3CS11
V161 | Sheet 7 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-2"-P-5036-113-3CS11P | 3CS11
V162 | Sheet 7 | [6 empty] | 20-2"-P-5036-113-3CS11P
V163 | Sheet 7 | [6 empty] | 20-2"-P-5036-112-3CS11P-H-TE
V164 | Sheet 9 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-6"-P-5038-114-3CS11P-H-TE | 3CS11
V165 | Sheet 9 | 1/2" | FNPT | 2-Valve Manifold - PG |  |  |  | Instrumentation / Tubing | N/A
V166 | Sheet 9 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-6"-P-5038-114-3CS11P-H-TE | 3CS11
V167 | Sheet 9 | 1/2" | FNPT | 2-Valve Manifold - PT |  |  |  | Instrumentation / Tubing | N/A
V168 | Sheet 9 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-6"-P-5038-114-3CS11P-H-TE | 3CS11
V169 | Sheet 9 | 6"-300# | RF Flange | Gate |  |  |  | 20-6"-P-5038-114-3CS11P-H-TE | 3CS11
CV170 | Sheet 9 | 2"-300# | RF Flange | Swing Check |  |  |  | 20-2"-P-5038-113-3CS11P | 3CS11
V200 | Sheet 9 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-6"-P-5038-200-3CS11P-H | 3CS11
V201 | Sheet 9 | 1/2" | FNPT | 2-Valve Manifold - PG |  |  |  | 20-6"-P-5038-200-3CS11P-H | N/A
V202 | Sheet 9 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-6"-P-5038-200-3CS11P-H | 3CS11
V203 | Sheet 9 | 1/2" Class 800 | SW x NPT | Gate |  |  |  | 20-6"-P-5038-200-3CS11P-H | 3CS11
V204 | Sheet 9 | 1/2" Class 800 | SW x NPT | Gate |  |  |  | 20-6"-P-5038-200-3CS11P-H | 3CS11
V205 | Sheet 9 | 1/2" | FNPT | 3-Valve Manifold - FT |  |  |  | Instrumentation / Tubing | N/A
V206 | Sheet 9 | [6 empty] | 20-6"-P-5038-200-3CS11P-H
V207 | Sheet 9 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-4"-P-5038-201-3CS11P-H | 3CS11
V208 | Sheet 9 | 1/2" | FNPT | 2-Valve Manifold - PG |  |  |  | Instrumentation / Tubing | N/A
V209 | Sheet 9 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-4"-P-5038-201-3CS11P-H | 3CS11
V210 | Sheet 10 | 2"-300# | RF Flange | Gate |  |  |  | 20-4"-P-5039-202-3CS11P-H | 3CS11
V211 | Sheet 10 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-4"-P-5039-202-3CS11P-H | 3CS11
V212 | Sheet 10 | 1/2" | FNPT | 2-Valve Manifold - PG |  |  |  | Instrumentation / Tubing | N/A
V213 | Sheet 10 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-4"-P-5039-202-3CS11P-H | 3CS11
V214 | Sheet 10 | [6 empty] | 20-4"-P-5039-202-3CS11P-H
V215 | Sheet 10 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-4"-P-5039-203-3CS11P-H | 3CS11
V216 | Sheet 10 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-4"-P-5039-203-3CS11P-H | 3CS11
V217 | Sheet 10 | 1/2" | FNPT | 2-Valve Manifold - PG |  |  |  | Instrumentation / Tubing | N/A
V218 | Sheet 10 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-4"-P-5039-203-3CS11P-H | 3CS11
V219 | Sheet 10 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-4"-P-5039-203-3CS11P-H | 3CS11
V220 | Sheet 10 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-4"-P-5039-203-3CS11P-H | 3CS11
V221 | Sheet 10 | [6 empty] | 20-4"-P-5039-203-3CS11P-H
V222 | Sheet 10 | [6 empty] | 20-4"-P-5039-203-3CS11P-H
V223 | Sheet 10 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-4"-P-5039-203-3CS11P-H | 3CS11
V224 | Sheet 10 | 3/4" Class 800 | SW x NPT | Gate |  |  |  | 20-4"-P-5039-203-3CS11P-H | 3CS11
V225 | Sheet 10 | 1/2" | FNPT | 2-Valve Manifold - PG |  |  |  | Instrumentation / Tubing | N/A

## Input Sheet
Tag Number | P&ID Sheet Number | Size and Rating | Connection Type | Type | Body Material | Trim | Port | Location | Client Pipe Class | Manufacturer | Model | Pipe Schedule | Notes
V100 | Sheet 1 |  |  |  | 1 | 1 | 1 | 20-12"-P-5030-100-3CS11P |  | 1 | 1 | 1
V101 | Sheet 1 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V104 | Sheet 1 | 1/2" | FNPT | 2-Valve Manifold - PG | 3 | 3 | 3 | 20-16"-P-5030-101-3CS11P | N/A | 3 | 3 | 3
V107 | Sheet 2 | 1/2" | FNPT | 3-Valve Manifold - PDT | 4 | 4 | 4 | 20-16"-P-5030-101-3CS11P | N/A | 4 | 4 | 4
V111 | Sheet 2 | 1/2" | FNPT | 2-Valve Manifold - PT | 5 | 5 | 5 | 20-16"-P-5031-102-3CS11P-HP | N/A | 5 | 5 | 5
V141 | Sheet 4 | 8"-300# | RF Flange | Gate | 6 | 6 | 6 | 20-8"-P-5033-107-3CS11P-HP | 3CS11 | 6 | 6 | 6
CV147 | Sheet 4 | 8"-300# | RF Flange | Swing Check | 7 | 7 | 7 | 20-8"-P-5033-107-3CS11P-HP | 3CS11 | 7 | 7 | 7
V169 | Sheet 9 | 6"-300# | RF Flange | Gate | 8 | 8 | 8 | 20-6"-P-5038-114-3CS11P-H-TE | 3CS11 | 8 | 8 | 8
CV170 | Sheet 9 | 2"-300# | RF Flange | Swing Check | 9 | 9 | 9 | 20-2"-P-5038-113-3CS11P | 3CS11 | 9 | 9 | 9
V203 | Sheet 9 | 1/2" Class 800 | SW x NPT | Gate | 10 | 10 | 10 | 20-6"-P-5038-200-3CS11P-H | 3CS11 | 10 | 10 | 10
V205 | Sheet 9 | 1/2" | FNPT | 3-Valve Manifold - FT | 11 | 11 | 11 | Instrumentation / Tubing | N/A | 11 | 11 | 11
V210 | Sheet 10 | 2"-300# | RF Flange | Gate | 12 | 12 | 12 | 20-4"-P-5039-202-3CS11P-H | 3CS11 | 12 | 12 | 12

## Output Sheet
Tag Number | P&ID Sheet Number | Size and Rating | Connection Type | Type | Body Material | Trim | Port | Location | Client Pipe Class | Manufacturer | Model | Pipe Schedule | Notes
V100 | Sheet 1 |  |  |  | 1 | 1 | 1 | 20-12"-P-5030-100-3CS11P |  | 1 | 1 | 1
V101 | Sheet 1 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
CV102 | Sheet 1 |  |  |  | 1 | 1 | 1 | 20-12"-P-5030-100-3CS11P |  | 1 | 1 | 1
V103 | Sheet 1 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V104 | Sheet 1 | 1/2" | FNPT | 2-Valve Manifold - PG | 3 | 3 | 3 | 20-16"-P-5030-101-3CS11P | N/A | 3 | 3 | 3
V105 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V106 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V107 | Sheet 2 | 1/2" | FNPT | 3-Valve Manifold - PDT | 4 | 4 | 4 | 20-16"-P-5030-101-3CS11P | N/A | 4 | 4 | 4
V108 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V109 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V110 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V111 | Sheet 2 | 1/2" | FNPT | 2-Valve Manifold - PT | 5 | 5 | 5 | 20-16"-P-5031-102-3CS11P-HP | N/A | 5 | 5 | 5
V112 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V113 | Sheet 2 | 1/2" | FNPT | 2-Valve Manifold - PT | 5 | 5 | 5 | 20-16"-P-5031-102-3CS11P-HP | N/A | 5 | 5 | 5
V114 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V115 | Sheet 2 | 1/2" | FNPT | 2-Valve Manifold - PT | 5 | 5 | 5 | 20-16"-P-5031-102-3CS11P-HP | N/A | 5 | 5 | 5
V116 | Sheet 12 |  |  |  | 1 | 1 | 1 | 20-12"-P-5030-100-3CS11P |  | 1 | 1 | 1
V117 | Sheet 12 |  |  |  | 1 | 1 | 1 | 20-12"-P-5030-100-3CS11P |  | 1 | 1 | 1
V118 | Sheet 12 |  |  |  | 1 | 1 | 1 | 20-12"-P-5030-100-3CS11P |  | 1 | 1 | 1
V119 | Sheet 12 |  |  |  | 1 | 1 | 1 | 20-12"-P-5030-100-3CS11P |  | 1 | 1 | 1
V120 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V121 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V122 | Sheet 2 | 1/2" | FNPT | 3-Valve Manifold - PDT | 4 | 4 | 4 | 20-16"-P-5030-101-3CS11P | N/A | 4 | 4 | 4
V123 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V124 | Sheet 2 | 1/2" | FNPT | 3-Valve Manifold - PDT | 4 | 4 | 4 | 20-16"-P-5030-101-3CS11P | N/A | 4 | 4 | 4
V125 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V126 | Sheet 2 | 1/2" | FNPT | 3-Valve Manifold - PDT | 4 | 4 | 4 | 20-16"-P-5030-101-3CS11P | N/A | 4 | 4 | 4
V127 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V128 | Sheet 2 | 1/2" | FNPT | 2-Valve Manifold - PT | 5 | 5 | 5 | 20-16"-P-5031-102-3CS11P-HP | N/A | 5 | 5 | 5
V129 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V130 | Sheet 2 | 1/2" | FNPT | 2-Valve Manifold - PT | 5 | 5 | 5 | 20-16"-P-5031-102-3CS11P-HP | N/A | 5 | 5 | 5
V131 | Sheet 2 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V132 | Sheet 2 | 1/2" | FNPT | 2-Valve Manifold - PT | 5 | 5 | 5 | 20-16"-P-5031-102-3CS11P-HP | N/A | 5 | 5 | 5
V133 | Sheet 3 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V134 | Sheet 3 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V135 | Sheet 3 | 1/2" | FNPT | 3-Valve Manifold - PDT | 4 | 4 | 4 | 20-16"-P-5030-101-3CS11P | N/A | 4 | 4 | 4
V136 | Sheet 4 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V137 | Sheet 4 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V138 | Sheet 4 | 1/2" | FNPT | 3-Valve Manifold - PDT | 4 | 4 | 4 | 20-16"-P-5030-101-3CS11P | N/A | 4 | 4 | 4
V139 | Sheet 4 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V140 | Sheet 4 | 1/2" | FNPT | 2-Valve Manifold - PG | 3 | 3 | 3 | 20-16"-P-5030-101-3CS11P | N/A | 3 | 3 | 3
V141 | Sheet 4 | 8"-300# | RF Flange | Gate | 6 | 6 | 6 | 20-8"-P-5033-107-3CS11P-HP | 3CS11 | 6 | 6 | 6
V142 | Sheet 4 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V143 | Sheet 4 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V144 | Sheet 4 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V145 | Sheet 4 | 8"-300# | RF Flange | Gate | 6 | 6 | 6 | 20-8"-P-5033-107-3CS11P-HP | 3CS11 | 6 | 6 | 6
V146 | Sheet 4 |  |  |  | 1 | 1 | 1 | 20-12"-P-5030-100-3CS11P |  | 1 | 1 | 1
CV147 | Sheet 4 | 8"-300# | RF Flange | Swing Check | 7 | 7 | 7 | 20-8"-P-5033-107-3CS11P-HP | 3CS11 | 7 | 7 | 7
V148 | Sheet 4 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V149 | Sheet 6 | 8"-300# | RF Flange | Gate | 6 | 6 | 6 | 20-8"-P-5033-107-3CS11P-HP | 3CS11 | 6 | 6 | 6
V150 | Sheet 6 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V151 | Sheet 6 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V152 | Sheet 6 | 1/2" | FNPT | 2-Valve Manifold - PT | 5 | 5 | 5 | 20-16"-P-5031-102-3CS11P-HP | N/A | 5 | 5 | 5
V153 | Sheet 7 |  |  |  | 1 | 1 | 1 | 20-12"-P-5030-100-3CS11P |  | 1 | 1 | 1
V154 | Sheet 7 |  |  |  | 1 | 1 | 1 | 20-12"-P-5030-100-3CS11P |  | 1 | 1 | 1
V155 | Sheet 7 |  |  |  | 1 | 1 | 1 | 20-12"-P-5030-100-3CS11P |  | 1 | 1 | 1
V156 | Sheet 7 |  |  |  | 1 | 1 | 1 | 20-12"-P-5030-100-3CS11P |  | 1 | 1 | 1
V157 | Sheet 7 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V158 | Sheet 7 | 1/2" | FNPT | 2-Valve Manifold - PT | 5 | 5 | 5 | 20-16"-P-5031-102-3CS11P-HP | N/A | 5 | 5 | 5
V159 | Sheet 7 |  |  |  | 1 | 1 | 1 | 20-12"-P-5030-100-3CS11P |  | 1 | 1 | 1
V160 | Sheet 7 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V161 | Sheet 7 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V162 | Sheet 7 |  |  |  | 1 | 1 | 1 | 20-12"-P-5030-100-3CS11P |  | 1 | 1 | 1
V163 | Sheet 7 |  |  |  | 1 | 1 | 1 | 20-12"-P-5030-100-3CS11P |  | 1 | 1 | 1
V164 | Sheet 9 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V165 | Sheet 9 | 1/2" | FNPT | 2-Valve Manifold - PG | 3 | 3 | 3 | 20-16"-P-5030-101-3CS11P | N/A | 3 | 3 | 3
V166 | Sheet 9 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V167 | Sheet 9 | 1/2" | FNPT | 2-Valve Manifold - PT | 5 | 5 | 5 | 20-16"-P-5031-102-3CS11P-HP | N/A | 5 | 5 | 5
V168 | Sheet 9 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V169 | Sheet 9 | 6"-300# | RF Flange | Gate | 8 | 8 | 8 | 20-6"-P-5038-114-3CS11P-H-TE | 3CS11 | 8 | 8 | 8
CV170 | Sheet 9 | 2"-300# | RF Flange | Swing Check | 9 | 9 | 9 | 20-2"-P-5038-113-3CS11P | 3CS11 | 9 | 9 | 9
V200 | Sheet 9 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V201 | Sheet 9 | 1/2" | FNPT | 2-Valve Manifold - PG | 3 | 3 | 3 | 20-16"-P-5030-101-3CS11P | N/A | 3 | 3 | 3
V202 | Sheet 9 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V203 | Sheet 9 | 1/2" Class 800 | SW x NPT | Gate | 10 | 10 | 10 | 20-6"-P-5038-200-3CS11P-H | 3CS11 | 10 | 10 | 10
V204 | Sheet 9 | 1/2" Class 800 | SW x NPT | Gate | 10 | 10 | 10 | 20-6"-P-5038-200-3CS11P-H | 3CS11 | 10 | 10 | 10
V205 | Sheet 9 | 1/2" | FNPT | 3-Valve Manifold - FT | 11 | 11 | 11 | Instrumentation / Tubing | N/A | 11 | 11 | 11
V206 | Sheet 9 |  |  |  | 1 | 1 | 1 | 20-12"-P-5030-100-3CS11P |  | 1 | 1 | 1
V207 | Sheet 9 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V208 | Sheet 9 | 1/2" | FNPT | 2-Valve Manifold - PG | 3 | 3 | 3 | 20-16"-P-5030-101-3CS11P | N/A | 3 | 3 | 3
V209 | Sheet 9 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V210 | Sheet 10 | 2"-300# | RF Flange | Gate | 12 | 12 | 12 | 20-4"-P-5039-202-3CS11P-H | 3CS11 | 12 | 12 | 12
V211 | Sheet 10 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V212 | Sheet 10 | 1/2" | FNPT | 2-Valve Manifold - PG | 3 | 3 | 3 | 20-16"-P-5030-101-3CS11P | N/A | 3 | 3 | 3
V213 | Sheet 10 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V214 | Sheet 10 |  |  |  | 1 | 1 | 1 | 20-12"-P-5030-100-3CS11P |  | 1 | 1 | 1
V215 | Sheet 10 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V216 | Sheet 10 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V217 | Sheet 10 | 1/2" | FNPT | 2-Valve Manifold - PG | 3 | 3 | 3 | 20-16"-P-5030-101-3CS11P | N/A | 3 | 3 | 3
V218 | Sheet 10 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V219 | Sheet 10 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V220 | Sheet 10 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V221 | Sheet 10 |  |  |  | 1 | 1 | 1 | 20-12"-P-5030-100-3CS11P |  | 1 | 1 | 1
V222 | Sheet 10 |  |  |  | 1 | 1 | 1 | 20-12"-P-5030-100-3CS11P |  | 1 | 1 | 1
V223 | Sheet 10 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V224 | Sheet 10 | 3/4" Class 800 | SW x NPT | Gate | 2 | 2 | 2 | 20-12"-P-5030-100-3CS11P | 3CS11 | 2 | 2 | 2
V225 | Sheet 10 | 1/2" | FNPT | 2-Valve Manifold - PG | 3 | 3 | 3 | 20-16"-P-5030-101-3CS11P | N/A | 3 | 3 | 3